Database „Update“ Instructions

1) Start the database configuration tool “Configurator32”

2) in case that the “SYSTEM” database is still not updated, click “Oui”

NOTE: I think, this should not appear on your computer

2) in the configurator open the menue as shown

in the next step: click on the existing database file, you should have only “QMSOFT32_DB”

click now on the Button as shown in the figure to update the database